## Slide 1
Fantastic 4: Our Team
Our team, Fantastic 4, is dedicated to developing a reliable and innovative gas detection system. We have combined our expertise in electronics, software, and chemistry to create a solution that can effectively identify and measure different gases.
Swam Singla
Shubham Goel
Inesh Dheer
Shreyas Mehta

## Slide 4
Co
H2S
NH3
CH4
Smoke
LPG

## Slide 5
Week 3-4 Report:
Inesh | Shreyas | Shubham | Swam
Wrote the main working code for the ESP32/MQ-7 sensor along with DHT 11 integration and circuitry work. Made and setup the Thing Speak channel which in turn made the graphical analysis possible, helped Shreyas in calibration. Did raw data collection and made this presentation. | Mathematical Relations for: Rs/Ro vs ppm for MQ2 (CO and Methane) Derived equations for humidity and temperature for general MQ series. Why is MQ7 better ? Shifted from MQ2 to MQ7 and derived relations and calibrated MQ7. Implemented with the help of fitting model (non linear regression). | GUI Real time graphs Emergency button for buzzer alert Capture graph data Performed experiments for data collection. | Gave a different approach for humidity and temperature (Lookup table method) curves for linear relations (assumptions valid for MQ2) and derived the same, did the proximity check and helped in experimental analysis. Verified Shreyas’ formula.

## Slide 6
Circuit Design of our sensor:

## Slide 8
GUI

## Slide 10
ppm = a*(Rs/Ro)^b
Note:
Graph taken from MQ2’s datasheet
Site: (This implementation was done only for MQ 135) https://davidegironi.blogspot.com/2014/01/cheap-co2-meter-using-mq135-sensor-with.html

## Slide 12
Deriving relations for humidity and temperature for MQ2 sensor

## Slide 16
Now for Methane

## Slide 17
MQ 7 Carbon Monoxide

## Slide 19
Derivation

## Slide 20
From the Datasheet of MQ7

## Slide 21
Linear Fit

## Slide 22
Quadratic Fit

## Slide 27
Pure Air Testing

## Slide 29
Targets for next week/ Any Suggestions ?
Objectives:
A sensor with good proximity sensitivity is needed (MQ sensors are prone to imprecise measurements) An almost final version of GUI of the platform will be made. Hardware work will be started, a rudimentary (test) version of the final device will be made (sensor dependent).